Questions for preparing an offer for viscosity measuring systems

Please answer as many questions as possible,
to ensure that our offer will meet your requirements.

Regarding application:

- What kind of product/ products (polymers, oils, …) should be analysed?

a) ....................................  b) ....................................  c) ....................................

  - If sample is a polymer solution (e.g. PET, polyamide): Which solvent is used?

a) ....................................  b) ....................................  c) ....................................

Polymer concentration

 none (pure substance)		 0.5 %

 1.0 %				 8.4 %

 > 8.4 %				 others: ....................%

1.2	If sample isn’t polymer solution: Which is absolute viscosity or viscosity range of your sample?

Approx. Viscosity = ................................................................................mm²/s

1.3	Does sample contain particles or fillers, e.g. glass fibres in case of reinforced polymers?

 no

 yes: ………………………………………………………………………(description of non-solubles)

1.4	Are samples transparent or opaque / colour-intensive?

 transparent

 opaque: …………………………………………………………………................

2	Measuring temperature

 20°C				 25°C				 30°C

 37°C				 40°C				 100°C

 135°C			 other temperature: ...............°C

3	Flow time range you want to work, preferably?

 max. 100 s		 > 100 s to max. 200 s			 > 200 s

4	Please mention any standard you work according to (if there is any):

 DIN ........................		 ISO ........................		 ASTM ....................

 other ........................

5	How many samples should be measured per day (working shift)?

 1 – 5			 6 – 10			 11 – 20

 21 – 50		 more than 50

Regarding viscometry system:

6	Which instrument or instrument combination should be offered, preferably?

 Manual time measurement by stop watch

 ViscoClock plus

 AVS 370 system (PC controlled system)

 AVS 370 system for dilution series (for intrinsic viscosity only)

 AVS 470 (Stand alone system)

 AVSPro III

In case of AVS 370: Configuration with or without waste system?

 Without waste system: For discharge and rinse, viscometer is taken out of the thermostat bath

 With waste system: Viscometer keeps installed during discharging / rinsing

7	How many measuring positions are required, for measurement at the same time?

 1			 2			 4			 8

8	Which detection system for flow time measurement should be applied, preferably?

 Optical (by light barriers)			 Thermal (by TC sensors)

9	What type of viscometer is preferred?

 DIN-Ubbelohde (DIN, ISO)

 ASTM-Ubbelohde (ASTM, ISO)

 DIN Micro-Ubbelohde

 Cannon-Fenske routine (ISO, ASTM)

 Cannon-Fenske opaque (DIN, ISO, ASTM)

 Ubbelohde for dilution series

 Micro-Ostwald

10	If known: preferred capillary size 
(here: sizes for DIN Ubbelohde viscometers, of course other sizes are possible for other )

 0		 0c		 0a		 I		 Ic		 Ia

 II		 IIc		 IIa		 III		 IIIc		 IIIa

 IV		 IVc		 IVa		 V		 unknown

11	Which thermostat should be used, preferably?

 CT 72/P (10 … 60°C; 2 measuring positions)

 CT 72/2 (up to 150°C; 2 measuring positions)

 CT 72/4 (up to 150°C; 4 measuring positions)

 other ……………………………………………..

Thank you for your assistance!